## Sheet1
DESCRIPTION | unit | QUANTITY | PRICE | TOTAL PRICE
Addressable Fire detection and alarm Main control panel to support at least 6 loops, LED to show specific zone status, LCD Display | Nr | 1 |  | 0
Addressable fire detection and alarm repeater control panel; capable of supporting two loops | Nr | 1 |  | 0
Addressable Optical smoke detector | Nr | 70 |  | 0
Addressable Optical Heat detector | Nr | 15 |  | 0
Addressable Manual call points('Break Glass) | Nr | 20 |  | 0
Addressable Fire alarm sounder | Nr | 8 |  | 0
LHD – Fiber System 8000 PFS Series or FP PLUS Fire retardant cables 2mm | Nr | 3500 |  | 0
Fire alarms cabling of 1.5mm and all installation accessories | Nr | 1 |  | 0
Installation and commissioning of materials LOT No 1 | Nr | 1 |  | 0
Addressable Fire detection and alarm Main control panel to support at least 8 loops, LED to show specific zone status, LCD Display | Nr | 2 |  | 0
Addressable fire detection and alarm repeater control panel; capable of supporting two loops | Nr | 4 |  | 0
Addressable Optical smoke detector | Nr | 250 |  | 0
Addressable Optical Heat detector | Nr | 50 |  | 0
Addressable Manual call points('Break Glass) | Nr | 30 |  | 0
Addressable Fire alarm sounder | Nr | 35 |  | 0
LHD – Fiber System 8000 PFS Series or FP PLUS Fire retardant cables 2mm | meter | 7500 |  | 0
Fire alarms cabling of 1.5mm and all installation accessories | Nr | 1 |  | 0
Notifications provision (Dealler signal, Adaper & Relay) | Nr | 1 |  | 0
Automatic Fire Suppression System for server room, control room and power House complete with mounting accessories as DSPA/FM200/HFC227 or approved equivalent (registry, ICT, electrical and account control rooms). | Nr | 4 |  | 0
Electric Exit Signage with Backup Battery | Nr | 45 |  | 0
Integrated voice alarm and public address system amplifier | Nr | 1 |  | 0
IP Based Digital Mixing Console | Nr | 1 |  | 0
IP Based 8-channels Amplifier | Nr | 2 |  | 0
Cisco catalyst C9200L-48P-4G-E full POE with minimum of 720 Watts power budget loaded with SFPs for uplink | Nr | 1 |  | 0
30W wall mount horn speaker for outdoor | Nr | 16 |  | 0
8W indoor ceiling Mount Speakers | Nr | 24 |  | 0
Remote Paging Microphone Station with Zone Control and Chimes | Nr | 2 |  | 0
. Volume Controllers | Nr | 2 |  | 0
Fireman's Microphone with ability to pre record the messages | Nr | 6 |  | 0
2 core stranded 2.5mm sq speaker cables | Roll | 8 |  | 0
A PC with Intel® CoreTM i7-6700k @ 4 GHz, 8 GB of RAM, GbE Network Interface Card, NVIDIA GeForce GTX 1070, SATA II Hard Drive or Better, 240 GB of HDD for OS and Video Management Control Client Application, Microsoft® Windows 10 (64-bit), Dual 32" LED Monitors with Stand | Nr | 1 |  | 0
Addressable Fire detection and alarm Main control panel to support at least 6 loops, LED to show specific zone status, LCD Display | Nr | 1 |  | 0
Addressable fire detection and alarm repeater control panel; capable of supporting two loops | Nr | 2 |  | 0
Addressable Optical smoke detector | Nr | 43 |  | 0
Addressable Optical Heat detector | Nr | 12 |  | 0
Addressable Manual call points('Break Glass) | Nr | 6 |  | 0
Addressable Fire alarm sounder | Nr | 6 |  | 0
LHD – Fiber System 8000 PFS Series or FP PLUS Fire retardant cables 2mm | Nr | 3000 |  | 0
Installation materials LOT No 1 | Nr | 1 |  | 0
Addressable Fire detection and alarm Main control panel to support at least 6 loops, LED to show specific zone status, LCD Display | Nr | 1 |  | 0
Addressable fire detection and alarm repeater control panel; capable of supporting two loops | Nr | 2 |  | 0
Addressable Optical smoke detector | Nr | 43 |  | 0
Addressable Optical Heat detector | Nr | 12 |  | 0
Addressable Manual call points (Break Glass) | Nr | 14 |  | 0
Addressable Fire alarm sounder | Nr | 12 |  | 0
LHD – Fiber System 8000 PFS Series or FP PLUS Fire retardant cables 2mm | m | 7000 |  | 0
1E +1J + 1D HORRIZONTAL END SUCTION PUMP COMPLETE WITH DRIVERS (MOTOR, & DIESEL ENGINE) + 1 VERTICAL MULTISTAGE JOCKEY PUMP AND 1 NO. COMMON CONTROLLER FOR ELECTRIC DIESEL /JOCKEY/ (ENCLOSED IP 54) AND STANDARD ACCESSORIE, ALL MOUNTED ON INDIVUAL BASE |  | 1 |  | 0
FRAME (SUCTION AND DISCHERGE MANIFOLD, VALVES & FITTINGS ARE INCLUDED) | set | 1 |  | 0
Wet Type Fire Hydrant 4” with 2” x 2.5” BRASS Oblique Landing Valve outlet with outlet cap, chain, (control outlet) No. | nr | 12 |  | 0
Hose reel 1” WITH cabinet mounted automatic No. 1 | nr | 1 |  | 0
Single Compartment Surface/ recess Type EG Sheet Solid DOOR (up to 800 x 800x300) model NF 300 | nr | 1 |  | 0
Self-Standing Type Fire Hydrant cabinet, solid door, No. 12 | nr | 12 |  | 0
Fire delivery Hose Single Jacket 2.5” x 30m mtr RED with all coupling | nr | 12 |  | 0
Branch pipe 2 – ½” with BS male Inlet. KITERMARK NF FB 320 | nr | 12 |  | 0
OS&Y Gate Valve 65mm Class 125 Flanged, 200 PSI working UL/FM Approved, | nr | 6 |  | 0
GALVANISED Flange 65mm | nr | 50 |  | 0
Check Valve 65mm class 125 flanged, 200 PSI working UL/FM Approved, | nr | 5 |  | 0
Automatic Air release 65mm FNPT 175 PSI inlet x outlet working UL/FM Approved. | nr | 4 |  | 0
Automatic Air release 1” FNPT 175 PSI inlet x outlet working UL/FM Approved, | nr | 1 |  | 0
HDPE TEE 65mm | nr | 20 |  | 0
HDPE PIPE ”65mm | nr | 400 |  | 0
Schedule 40 galvanised PIPE 65mm Lm 400 | nr | 400 |  | 0
Schedule 40 galvanised ELBOW 65mm Lm 4 | nr | 4 |  | 0
Schedule 40 galvanised SOCKET 65mm No. 15 | nr | 15 |  | 0
Schedule 40 galvanized NON RETURN VALVE 65mm | nr | 2 |  | 0
Schedule 40 galvanized TEE 65mm x 65mm x 25mm | nr | 4 |  | 0
HDPE ELBOW 65mm | nr | 5 |  | 0
HDPE FLANGE 65mm | nr | 30 |  | 0
GASKET SEAL 65mm | nr | 30 |  | 0
Schedule 40 flange 65mm | nr | 4 |  | 0
7BAR Pressure gauge | nr | 6 |  | 0
JOTUN bitumen proof Primer and paint | ltr | 200 |  | 0
JOTUN Rust proof primer | ltr | 200 |  | 0
Schedule 40 flange plug 65mm | nr | 10 |  | 0
Set of stickers. Set 1 | set | 1 |  | 0
Bolts and nut for flange fittings | nr | 900 |  | 0
EARTH WORKS Sum 1 | sum | 1 |  | 0
CIVIL WORKS Sum 1 | sum | 1 |  | 0
TOTAL |  |  |  | 0
VAT 18% |  |  |  | 0
GRAND TOTAL |  |  |  | 0